## Sheet1
Please assume 1 item of each unless stated otherwise
Dates and years are estimates

## Colchester
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Age
10 - Colchester Fire Station |  | Boiler | B01 Fire Station - Boiler Room | Ideal Concord C2
10 - Colchester Fire Station |  | Cooker | Kitchen | Lincat Range OG7002N 21524973 | 4 yrs
10 - Colchester Fire Station |  | Grill | Kitchen | Bartlett F204G/6

## Dovercourt
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model
11 - Dovercourt Fire Station |  | Boiler | B01 Fire Station - GF16 Boiler Room | Remaha | Quinta Pro

## Clacton
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Age | Items
12 - Clacton Fire Station |  | Boiler | B01 Fire Station - Boiler Room | Broag remeha 110 | eco | 3 | 2
12 - Clacton Fire Station |  | Cooker | Kitchen | Bartlett F30G/911
12 - Clacton Fire Station |  | Grill | Kitchen | Bartlett F20G/6

## Manningtree
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer
17 - Manningtree Fire Station |  | Boiler | B01 Fire Station - FF03 Kitchen | Ideal Icos HE24
17 - Manningtree Fire Station |  | Boiler | B01 Fire Station - FF03 Kitchen | Dravo ACO52
17 - Manningtree Fire Station |  | Water Boiler | B01 Fire Station - GF02 BA Room - DHW cupboard | Heatrae Sadia Megaflow CL 125S

## Frinton
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size | Date installed | Age | Items
18 - Frinton Fire Station |  | Boiler | B01 Fire Station - Boiler Room? | Worcester Greenstar 29cdi | Greenstar 29cdi |  | 2017-05-23 | 1 | 1
18 - Frinton Fire Station |  | Gas Heater | B01 Fire Station - GF01 Appliance Bay | Ambi Rad High level Gas fired heater |  |  | 2015-04-10 | 3 | 1

## Brightlingsea
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model
20 - Brightlingsea Fire Station |  | Boiler | B01 Fire Station - Boiler Room | Broag REmeda Quintana pro

## Wivenhoe
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model
21 - Wivenhoe Fire Station |  | Boiler | B01 Fire Station - GF07 Boiler Room | Vaillant Ecotec 46 Wall Hung

## Tiptree
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size | Condition | Date installed | Age | Items | Last service Date | Service date due | Actual service date | Serial nr | Building | Annual est. | ID
23 - Tiptree Fire Station |  | Boiler | B01 Fire Station - Boiler Room? | Broag Remena Avanta 24c |  |  |  | 2015-04-10 | 3 | 1 |  |  |  |  | B01 Fire Station | 0 | b5d7e3ed-4e31-4e4e-a6f9-ebb45b407ee1
23 - Tiptree Fire Station |  | Gas Heater | B01 Fire Station - GF01 Appliance Bay - high level | powermatic | psuk 12 |  |  | 2015-12-25 | 3 | 1 |  |  |  |  | B01 Fire Station | 0 | 5506bf90-d340-4400-b3d2-408f5a88a4db

## Coggeshall
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Age | Items | Age
24 - Coggeshall Fire Station |  | Boiler | B01 Fire Station - GF04 Boiler Room | VIESMANN | VITODENS 222-F | 3 | 1 | 1yr
24 - Coggeshall Fire Station |  | Gas Heater | B01 Fire Station | Ambirad UDSA 020-02 |  | 3 | 1 | 1yr
24 - Coggeshall Fire Station |  | Gas Heater | B01 Fire Station | Ambri Rad Smartcom 2 |  | 3 | 1 | 1yr

## Witham
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Age | Items | Last service Date
25 - Witham Fire Station and Training Centre |  | Boiler | B01 Fire Station - GF09 Mess Room | Hanworthy Atmospheric Boiler |  | 3 | 2
25 - Witham Fire Station and Training Centre |  | Boiler | B02 Training Centre - GF28 Boiler Room | Broag Gas Boilers 350 |  | 3 | 1
25 - Witham Fire Station and Training Centre |  | Cooker | Falcon 6 Bruner |  |  |  | 2
25 - Witham Fire Station and Training Centre |  | Grill | Bartlett Yeoman F25G/B

## Southend
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size | Condition | Age | Items | Serial nr
30 - Southend Fire Station |  | Boiler | B01 Fire Station - Boiler Room? | Broag Seagold 3c-5 Heating Boiler |  |  |  | 3 | 2 | boiler 1; 1994Z40322983, boiler 2; 1994Z40322984
30 - Southend Fire Station |  | Gas Heater | B01 Fire Station | Drugasar Gas Heaters |  |  |  | 3 | 3
30 - Southend Fire Station |  | Gas Heater | B01 Fire Station | Drugasar Gas Heaters |  |  |  |  | 3
30 - Southend Fire Station |  | Water Heater | B02 Service Delivery Point & YFF - GF42 Boiler Room | Rimina |  |  |  |  | 3
30 - Southend Fire Station |  | Water Heater | B01 Fire Station - GF25 Boiler Room | A S Andrews | ST166 |  |  |  | 1
30 - Southend Fire Station |  | Water Heater | B01 Fire Station - Boiler Room? | Heat Master Relio Hot Water Boiler |  |  |  |  | 3
30 - Southend Fire Station |  | Water Boiler | B01 Fire Station - GF25 Boiler Room | Andrews | heatmaster reillo | 40kw |  |  | 3
30 - Southend Fire Station |  | Cooker | B01 Fire Station | Falcon dominator G3101
30 - Southend Fire Station |  | Grill | B01 Fire Station | Bartlett F20G/6

## Leigh
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size | Serial nr
31 - Leigh Fire Station |  | Boiler | B01 Fire Station - GF24 Boiler Room - Boiler Room | Remeda Quinta 85 |  | 85kw
31 - Leigh Fire Station |  | Gas Heater | B01 Fire Station - GF01 Appliance Bay | dunham bush
31 - Leigh Fire Station |  | Water Heater | B01 Fire Station - GF24 Boiler Room - Boiler Room | Andrews | CSC78 | 78kw | EM11377109
31 - Leigh Fire Station |  | Cooker | B01 Fire Station | Bartlett F30G/911
31 - Leigh Fire Station |  | Grill | B01 Fire Station | Bartlett F20G/6

## South Woodham Ferrers
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model
32 - South Woodham Ferrers Fire Station |  | Boiler | B01 Fire Station - Boiler Room | 2Nr Remeha Quinta Pro 45 NG

## Gt Baddow
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer
33 - Great Baddow Fire Station |  | Boiler | B01 Fire Station - TBA Boiler Room | Ideal Concord CX50

## Chelmsford
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Age | Items
34 - Chelmsford Fire Station |  | Boiler | B01 Fire Station - Boiler Room | Remasa Quitana Condenser | 3 | 2
34 - Chelmsford Fire Station |  | Boiler | B01 Fire Station | Ideal | 1 | 1
34 - Chelmsford Fire Station |  | Gas Heater | B01 Fire Station | Ambirad UDSA 0202 heater | 3 | 1
34 - Chelmsford Fire Station |  | Cooker | B01 Fire Station | Falcon dominator G2101EU07
34 - Chelmsford Fire Station |  | Grill | B01 Fire Station | Bartlett F20G/6

## Rayleigh Weir
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size | Age | Items
35 - Rayleigh Weir Fire Station |  | Boiler | B01 Fire Station - Boiler Room | MHS Ultramax Condesing |  |  | 3 | 1
35 - Rayleigh Weir Fire Station |  | Gas Heater | B01 Fire Station - GF01 Appliance Bay | Reznor |  |  | 3 | 3
35 - Rayleigh Weir Fire Station |  | Cooker | B01 Fire Station | Moorwood Vulcan NN2RG990
35 - Rayleigh Weir Fire Station |  | Grill | B01 Fire Station | Lincat GR3/N

## Shoeburyness
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer
42 - Shoeburyness Fire Station |  | Boiler | B01 Fire Station | Broag Avanti 24

## Maldon
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size | Age
46 - Maldon Fire Station |  | Boiler | B01 Fire Station - GF07 Boiler Room | Strber Hot water AT1400 Boiler |  |  | 3
46 - Maldon Fire Station |  | Boiler | B01 Fire Station - GF07 Boiler Room | Ideal Mexico RS125 |  |  | 3

## Hawkwell
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size | Condition | Age | Items
47 - Hawkwell Fire Station |  | Boiler | B01 Fire Station | Worcester Bosch Greenstar combination |  |  |  | 1 | 1
47 - Hawkwell Fire Station |  | Gas Heater | B01 Fire Station | Drugasar | G10T |  |  | 3 | 1

## Rochford
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size
49 - Rochford Fire Station |  | Boiler | B01 Fire Station - Boiler Room? | Potterton Gold 24HE
49 - Rochford Fire Station |  | Gas Heater | B01 Fire Station | Druggasar G10T heater

## Grays
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Date installed | Age | Items
50 - Grays Fire Station |  | Boiler | B01 Fire Station - GF41 WC | AO Smith direct fired gas hot water boiler |  | 3 | 1
50 - Grays Fire Station |  | Boiler | B01 Fire Station - GF41 WC | Broag Condensing Heating Boiler Quinta115 |  | 3 | 2
50 - Grays Fire Station |  | Water Heater | B01 Fire Station - GF01 Appliance Bay | Radiant Heater Panels |  | 3 | 12
50 - Grays Fire Station |  | Water Heater | B01 Fire Station - GF05 BA Room | heatrea sadia |  | 5 | 1

## Brentwood
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Age | Items
51 - Brentwood Fire Station |  | Boiler | B01 Fire Station - GF21 Boiler Room | Andrews CSC 39 Direct Fired Boiler | 3 | 1
51 - Brentwood Fire Station |  | Boiler | B01 Fire Station - GF21 Boiler Room | Broag Gas 350 Heating Boiler | 3 | 2

## Basildon
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Age | Items
52 - Basildon Fire Station |  | Boiler | B01 Fire Station - Boiler Room | Andrews CSC78 Direct Fired Hot Water Boiler | 3 | 1
52 - Basildon Fire Station |  | Boiler | B01 Fire Station - Boiler Room | Broag Quinta 65 Heating Biler | 3 | 2

## Canvey Island
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Age | Items
54 - Canvey Island Fire Station |  | Boiler | B01 Fire Station - GF15 Boiler Room | Remeha Quinta 65 | 3 | 2
54 - Canvey Island Fire Station |  | Boiler | B01 Fire Station - GF15 Boiler Room | Andrews SCS95OB | 3 | 1

## Orsett
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Age | Items
55 - Orsett Fire Station |  | Boiler | B01F Fire Station - Boiler Room? | Hoval Atmogas AG 70 |  | 3 | 2
55 - Orsett Fire Station |  | Boiler | B01T Training Centre - Boiler Room? | Riello Burner |  | 3 | 1
55 - Orsett Fire Station |  | Gas Heater | B01 Fire Station/Training Centre | Gas Fired Heater | Riello burner in wall | 3 | 1
55 - Orsett Fire Station |  | hot water heater | Rear of appliance bay | heatrae sadia |  |  | 1

## Corringham
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Age | Items
66 - Corringham Fire Station and Corringham Safety Centre |  | Boiler | B01 Fire Station | Remeda Avanta Plus | 3 | 1
66 - Corringham Fire Station and Corringham Safety Centre |  | Gas Heater | B01 Fire Station in ba cleaning | Andrews | 3 | 1

## Ingatestone
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Date installed | Age | Items
67 - Ingatestone Fire Station |  | Boiler | B01 Fire Station - GF15 Recreation Room | Remeda Avanti |  | 3 | 1

## Billericay
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Items
68 - Billericay Fire Station |  | Gas Heater | B01 Fire Station - GF01 Appliance Bay | Drugasar Gas Heater | 2
68 - Billericay Fire Station |  | Hot Water Cylinder | B01 Fire Station - FF03 Corridor - Cupboard top of stairs | Megaflow | 1

## Wickford
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Age | Items
69 - Wickford Fire Station |  | Boiler | B01 Fire Station - GF07 Recreation Room - within cupboard by back door | Keston Qudos 28s |  | 3 | 1
69 - Wickford Fire Station |  | Convector | B01 Fire Station - GF04 Watch Room | myson | hi line |  | 1

## Harlow
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size | Condition | Date installed | Age | Items
70 - Harlow Central Fire Station |  | Boiler | B01 Fire Station - GF12 Boiler Room | Broag Quinta 85 HTG Boiler |  |  |  |  | 3 | 2
70 - Harlow Central Fire Station |  | Boiler | B01 Fire Station - GF12 Boiler Room | Gas Fired AO Smith rdmp 80g water htr. |  |  |  |  | 3 | 1
70 - Harlow Central Fire Station |  | Gas Heater | B01 Fire Station - Located in Gym | Drugasar Heater |  |  |  |  | 3 | 2
70 - Harlow Central Fire Station |  | Boilers | Service delivery point | Ideal Mexico | [5 empty] | 2
70 - Harlow Central Fire Station |  | Hot water heater gas fired | Service delivery point | [6 empty] | 1

## Ongar
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Age | Items
71 - Ongar Fire Station |  | Boiler | B01 Fire Station - Boiler Room | remeda 110 eco | 3 | 2
71 - Ongar Fire Station |  | Water Boiler | B01 Fire Station | Heatrae Sadia Megaflo CL210HE | 3 | 1

## Loughton
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size | Condition | Date installed | Age | Items
72 - Loughton Fire Station |  | Boiler | B01 Fire Station - GF23 Boiler Room - Boiler Room | Condensing Heating Boiler CR Remeha Quinta Pro |  |  |  | 2016-03-27 | 2 | 2

## Waltham Abbey
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size | Condition | Date installed | Age | Items
73 - Waltham Abbey Fire Station |  | Boiler | B01 Fire Station - GF07 Boiler Room | Broag Quinta 30 |  |  |  |  | 3 | 2
73 - Waltham Abbey Fire Station |  | Water Heater | B01 Fire Station - GF07 Boiler Room | Andrews RS190GB |  |  |  | 2017-06-12 | 1 | 1

## Braintree
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size | Condition | Date installed | Age | Items
78 - Braintree Fire Station |  | Boiler | B01 Fire Station - Boiler Room? | Remeha |  |  |  |  | 3 | 2

## Sible Hedingham
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Date installed | Age | Items
80 - Sible Hedingham Fire Station |  | Boiler | B01 Fire Station - GF01 Appliance Bay - Boiler Room? | Keston Qudos Boiler | 2012-11-01 | 6 | 1

## Gt Dunmow
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size
87 - Great Dunmow Fire Station |  | Boiler | B01 Fire Station | Worcester Green Star |  | 420cdl
87 - Great Dunmow Fire Station |  | Gas Heater | B01 Fire Station - GF01 Appliance Bay | Benson
87 - Great Dunmow Fire Station |  | Hot Water Cylinder | B01 Fire Station |  |  | 170l

## Halstead
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size | Condition | Date installed | Age | Items
81 - Halstead Fire Station |  | Boiler | B01 Fire Station - Boiler Room | Remeda Avanta Plus 24c |  |  |  |  | 3 | 1
81 - Halstead Fire Station |  | Gas Heater | B01 Fire Station - GF01 Appliance Bay | Ambi Rad |  |  |  | 2017-06-12 | 1 | 2
81 - Halstead Fire Station |  | Water Heater | B01 Fire Station | Zip Aquapoint 3 |  |  |  | 2017-06-12 | 1 | 2

## Old Harlow
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Age | Items
82 - Old Harlow Fire Station |  | Boiler | B01 Fire Station - GF05 Boiler Room | Ideal Mexico CF465 | 3 | 1

## Stansted
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size | Condition | Date installed | Age | Items
83 - Stansted Fire Station |  | Boiler | B01 Fire Station | Broag Quintana Pro 455 | [5 empty] | 1

## Newport
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size | Condition | Date installed | Age | Items
84 - Newport Fire Station |  | Boiler | B01 Fire Station | Keiston system 30 Condensing Boiler | [5 empty] | 1

## Saffron Walden
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size | Condition | Age | Items
85 - Saffron Walden Fire Station |  | Boiler | B01 Fire Station - GF01 Appliance Bay | Remeha | quinta pro |  |  | 3 | 2

## Thaxted
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Size | Condition | Items
86 - Thaxted Fire Station |  | Boiler | B01 Fire Station - GF06 Recreation Room - Boiler Room? | Worcester 29 | RS |  |  | 1
86 - Thaxted Fire Station |  | Gas Heater | B01 Fire Station - GF01 Appliance Bay | Ambi Rad |  |  |  | 1

## Kelvedon Park
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Model | Date installed | Age
132 - Kelvedon Park |  | Boiler | B01 Office Block - OHG03 Boiler Room | Sherbourne hanworthy High efficiency |  | 2010-05-01 | 8

## Workshops and USAR
Equipment details
Site Detail | Supplier | Sub type | Location | Manufacturer | Age | Items
131 - Workshops and USAR |  | Boiler | B01 Workshops - B01 Boiler Room - Boiler Room | Ideal Concord C2 | 3 | 1
131 - Workshops and USAR |  | Boiler | B06 USAR - GF18 Boiler Room | Worcester Greenstar Gas Fired Condenser Boiler | 3 | 2