## Sheet1
1.1 FRS Incident Number | 1.2 Fire and Rescue Service | 1.8 Station Ground of Incident | 2.1 Time of call | 3.2 Property Type | 3.2 Property Type (Other) | 4.2b Post Code | 5.15 Cause/motive | 8.1 Cause of fire | 8.2 Make and model | 8.4 Source of ignition | 8.4 Source of ignition Oth) | Textual_Address
220118205 | Essex | Chelmsford | 2020-02-17 02:43 | Property/Building/Non Residential/Retail/Bakery |  | CM1 1EH | Accidental or Deliberate are both possibilities | Other intentional burning, going out of control |  | Not known |  | DUKE STREET CHELMSFORD CM1 1EH
220124233 | Essex | Colchester | 2020-06-04 17:12 | Property/Building/Non Residential/Retail/Bank/Building Society |  | CO1 1JW | Accidental | Combustible articles too close to heat source (or fire) |  | Industrial equipment - Other |  | CO-OPRATIVE BANK HIGH STREET COLCHESTER CO1 1JW
219115158 | Essex | Braintree | 2019-12-23 13:21 | Property/Building/Non Residential/Retail/DIY Warehouse |  | CM77 8YL | Accidental | Faulty fuel supply - electricity |  | Electric lighting - Fluorescent lights |  | CENTURY DRIVE BRAINTREE CM77 8YL
219111582 | Essex | Basildon | 2019-10-24 23:04 | Property/Building/Non Residential/Retail/Furniture warehouse |  | SS15 6DR | [5 empty] | BABY DIRECT SOUTHEND ARTERIAL ROAD BASILDON SS15 6DR
220125325 | Essex | Colchester | 2020-06-23 12:21 | Property/Building/Non Residential/Retail/Hairdresser |  | CO2 7DA | Accidental | Negligent use of equipment or appliance (heat source) |  | Electricity supply - Wiring, cabling, plugs |  | SCHEREGATE COLCHESTER CO2 7DA
220120499 | Essex | Southend | 2020-03-30 16:48 | Property/Building/Non Residential/Retail/Hairdresser |  | SS0 7LP | Accidental | Other | not known | Other | poor electical installation, however due to fire damage it is impossible to say if it was before the meter. There is a possibility that the meter may have been bipassed to to the illiegal cannabis farm within the property | AARON LYONS GOLDSMITH HAMLET COURT ROAD WESTCLIFF-ON-SEA SS0 7LP
219104246 | Essex | Colchester | 2019-07-11 18:10 | Property/Building/Non Residential/Retail/Hairdresser |  | CO2 7DU | Accidental | Faulty fuel supply - electricity |  | Electricity supply - Before metre |  | ICUT ST BOTOLPHS STREET COLCHESTER CO2 7DU
220119081 | Essex | Colchester | 2020-03-04 16:06 | Property/Building/Non Residential/Retail/Indoor Market |  | CO2 7AL | Accidental | Faulty fuel supply - electricity |  | Electric lighting - Fluorescent lights |  | POUNDLAND ST JOHNS STREET COLCHESTER CO2 7AL
220125398 | Essex | Grays | 2020-06-24 12:08 | Property/Building/Non Residential/Retail/Large supermarket |  | RM17 5XZ | Accidental | Other | 0 | Fuel/Chemical related - Liquids; petrol/oil related |  | MORRISONS LONDON ROAD GRAYS RM17 5XZ
219110137 | Essex | Southend | 2019-10-01 09:17 | Property/Building/Non Residential/Retail/Large supermarket |  | SS6 7LF | [5 empty] | SAINSBURY SUPERMARKETS LIMITED EASTWOOD ROAD RAYLEIGH SS6 7LF
219105127 | Essex | Chelmsford | 2019-07-23 20:49 | Property/Building/Non Residential/Retail/Large supermarket |  | CM1 3UB | Accidental | Fault in equipment or appliance | electrics on roof of lift | Industrial equipment - Lift |  | WESTWAY CHELMSFORD CM1 3UB
220124702 | Essex | Southend | 2020-06-13 08:31 | Property/Building/Non Residential/Retail/Other retail | CAKE SHOP | SS0 7HZ | Accidental | Faulty fuel supply - electricity |  | Electricity supply - Before metre |  | LONDON ROAD WESTCLIFF-ON-SEA SS0 7HZ
219110671 | Essex | Harlow Central | 2019-10-10 04:08 | Property/Building/Non Residential/Retail/Other retail | BOOTS | CM20 3AH | [5 empty] | BOOTS CO PLC THE STOW HARLOW CM20 3AH
220121145 | Essex | Dovercourt | 2020-04-10 14:17 | Property/Building/Non Residential/Retail/Petrol station |  | CO12 4QA | Deliberate - unknown owner |  |  |  |  | HARWICH INTERNATIONAL PORT LTD FOSTER ROAD PARKESTON CO12 4QA
219112191 | Essex | Dovercourt | 2019-11-03 13:47 | Property/Building/Non Residential/Retail/Petrol station |  | CO12 4QA | Deliberate - unknown owner |  |  |  |  | HARWICH INTERNATIONAL PORT LTD FOSTER ROAD PARKESTON CO12 4QA
219111751 | Essex | Tiptree | 2019-10-28 01:27 | Property/Building/Non Residential/Retail/Petrol station |  | CO5 0EH | [5 empty] | SHELL GARAGE MAYPOLE ROAD TIPTREE CO5 0EH
219110624 | Essex | Rayleigh Weir | 2019-10-09 12:18 | Property/Building/Non Residential/Retail/Petrol station |  | SS6 9DW | Accidental | Fault in equipment or appliance | Heatrae Sadia Multi point 15. | Heating equipment - Separate water heating |  | GRANGE SERVICE STATION LIMITED LONDON ROAD RAYLEIGH SS6 9DW
219110289 | Essex | Southend | 2019-10-03 14:30 | Property/Building/Non Residential/Retail/Petrol station |  | SS9 2ST | [5 empty] | ESSO AND TESCO EXPRESS LONDON ROAD LEIGH-ON-SEA SS9 2ST
220124480 | Essex | Loughton | 2020-06-09 08:52 | Property/Building/Non Residential/Retail/Single shop |  | IG10 1DN | Accidental | Careless handling - due to careless disposal |  | Smoking related - Smoking materials |  | HIGH ROAD LOUGHTON IG10 1DN
220123743 | Essex | Brentwood | 2020-05-28 17:42 | Property/Building/Non Residential/Retail/Single shop |  | CM14 5HB | Accidental or Deliberate are both possibilities | Other | External drainage pipe work | Smoking related - Smoking materials |  | TESCO STORES LTD WARLEY HILL WARLEY CM14 5HB
220122108 | Essex | Brentwood | 2020-04-29 03:46 | Property/Building/Non Residential/Retail/Single shop |  | CM15 9QB | Accidental | Faulty leads to equipment or appliance | Mains Fuse Box | Electricity supply - Wiring, cabling, plugs |  | COSTCUTTER HATCH ROAD PILGRIMS HATCH CM15 9QB
220120371 | Essex | Basildon | 2020-03-28 10:50 | Property/Building/Non Residential/Retail/Single shop |  | CM11 2UQ | Accidental or Deliberate are both possibilities |  |  |  |  | SOUTHEND ROAD BILLERICAY CM11 2UQ
220119408 | Essex | Saffron Walden | 2020-03-11 05:01 | Property/Building/Non Residential/Retail/Single shop |  | CB10 1SL | Accidental | Faulty fuel supply - electricity |  | Other domestic style appliance - Fridge/Freezer |  | ICKLETON POST OFFICE CHURCH STREET ICKLETON CB10 1SL
219115225 | Essex | Canvey | 2019-12-24 21:53 | Property/Building/Non Residential/Retail/Single shop |  | SS8 0PD | Deliberate - others property | Heat source and combustibles brought together deliberately |  | Not known |  | SHANNON WAY CANVEY ISLAND SS8 0PD
219114688 | Essex | Colchester | 2019-12-16 09:00 | Property/Building/Non Residential/Retail/Single shop |  | CO2 7AD | Accidental | Fault in equipment or appliance | unknown extractpr fan 10yrs old | Other domestic style appliance - Extractor fan |  | COLCHESTER CYCLE STORES ST JOHNS STREET COLCHESTER CO2 7AD
219114295 | Essex | Harlow Central | 2019-12-09 01:53 | Property/Building/Non Residential/Retail/Single shop |  | CM20 1BD | Deliberate - unknown owner | Heat source and combustibles brought together deliberately |  | Not known |  | POST OFFICE ROAD HARLOW CM20 1BD
219113258 | Essex | Southend | 2019-11-21 09:51 | Property/Building/Non Residential/Retail/Single shop |  | SS9 1SN | Accidental or Deliberate are both possibilities | Other | Unknown | Other | Homeless Person having a fire in a brazier to the rear of the property | ELM ROAD LEIGH-ON-SEA SS9 1SN
219110166 | Essex | Colchester | 2019-10-01 17:22 | Property/Building/Non Residential/Retail/Single shop |  | CO2 9NR | [5 empty] | K D RADCLIFFE LTD BERECHURCH HALL ROAD COLCHESTER CO2 9NR
219106944 | Essex | Basildon | 2019-08-18 05:45 | Property/Building/Non Residential/Retail/Single shop |  | SS7 5LN | Accidental | Faulty fuel supply - electricity |  | Electricity supply - Wiring, cabling, plugs |  | HIGH ROAD BENFLEET SS7 5LN
219105207 | Essex | Colchester | 2019-07-24 19:17 | Property/Building/Non Residential/Retail/Single shop |  | CO1 1DN | Accidental | Combustible articles too close to heat source (or fire) |  | Electric lighting - Spot lights |  | ABIGAIL'S COLLECTION HIGH STREET COLCHESTER CO1 1DN
219105027 | Essex | Southend | 2019-07-22 18:10 | Property/Building/Non Residential/Retail/Single shop |  | SS1 1JD | Accidental | Negligent use of equipment or appliance (heat source) |  | Industrial equipment - Other |  | H&M Hennes 29-35 High Street Southend on Sea SS1 1JD
219104191 | Essex | Grays | 2019-07-10 22:26 | Property/Building/Non Residential/Retail/Single shop |  | RM18 7QX | Accidental | Fault in equipment or appliance | IARP chest freezer | Electricity supply - Wiring, cabling, plugs |  | LYCAMOBILE (TILBURY CASH AND CARRY) MONTREAL ROAD TILBURY RM18 7QX
220124576 | Essex | Rayleigh Weir | 2020-06-10 16:19 | Property/Building/Non Residential/Retail/Vehicle sales |  | SS6 7UP | Accidental | Overheating, unknown cause |  | Electric lighting - Other lights |  | STADIUM WAY BENFLEET SS6 7UP